## SECTION 954—ELECTRICAL DISTRIBUTION

954.1 DESCRIPTION—This work is the furnishing and installation of the electrical distribution for the control and illumination of traffic signals.

954.2 MATERIAL—

##### General.

- Traffic Signals-General—Section 950.2

- Poles and Bases—Section 1101.02

- Certification—Section 106.03(b)3

##### Conduit.

  - Rigid Steel Conduit. Section 1101.09, except may be used for direct burial, and UL-6 Listing for rigid metallic conduit, galvanized inside and outside.

  - Rigid Polyvinyl Chloride Conduit. Section 1101.09 with UL-651 Listing for rigid nonmetallic conduit, and UL-514 Listing for fittings.

  - Cable Pulling Lubricant. Section 1101.13(c)

  - Conduit Sealant. An acceptable duct seal.

  - Stainless Steel Wool. An acceptable type and grade.

##### Wire and Cable.

  - Signal Cable. 14 AWG minimum, stranded conductors; conforming to IMSA Specification 19-1 or 20-1.

  - Service Wire. 8 AWG minimum wire, Type USE conforming to UL-854 Listing and ASTM B3 and B8 for soft, annealed copper.

  - Ground Wire. Bare or insulated (green) copper wire, 8 AWG, conforming to ASTM B3.

  - Cable Tags. An acceptable type.

  - Cable Ties. An acceptable type.

  - High-Density Polyethylene (HDPE) Conduit. NEMA TC7 Standards and Schedule 40.

  - Polyester Pull Tape. Rated 900 pounds.

  - Cable Supports. For span wire installations utilize insulated cable rings and saddles, or other acceptable type support, to secure cable to span wire.

  - Ethernet Cable.  Provide shielded outdoor rated Category 5e/6 100BASE-TX Ethernet cable.  The jacket is to be UV resistant polyethylene and contain water blocking gel or dry gel tape for water resistance. Provide weathertight RJ45 connectors on any exposed ends.

##### Junction Box. Furnish the type as shown on the Standard Drawings, as indicated, and as follows:

- Provide junction box cover with “Traffic Signal” wording on the surface, as shown on the Standard Drawings.

- Precast Junction Box—Section 714.

- Steel or Cast-Iron Junction Box—steel or cast-iron conforming to the requirements for cast-iron junction box, as specified in Section 1101.10.

- Reinforced Plastic Mortar Junction Box—Provide heavy duty junction box with nonskid surface and a watertight connection to the housing. Provide a minimum design load 15,000 pounds with a test load of 22,500 pounds.

##### Electrical Service.

  - Service Pole. Section 1101.11(a)

  - Service Head. UL-Listed weatherproof service head, for applicable conduit type.

  - Meter Socket. As specified by the utility company.

##### Service Disconnect.

    - Enclosure. Galvanized steel, aluminum, or stainless steel, with a hinged door having provisions for a padlock and no external handles or switches; conforming to the NEMA Standard for Type 3R, Type 3S, or Type 4. Provide a brass padlock for outdoor use, with two keys. All padlocks shall be keyed alike.

    - Main Disconnect. Provide a means for disconnecting the service conforming to NEC.

    - Fuses. UL-Listed Type K-1, 30 A minimum.

    - Fuse Block. UL-Listed for K-1 fuses.

    - Power Line Surge Protector. UL-Listed, rated for a maximum permissible line to ground voltage of 175 V (rms). Clamping voltage not to exceed 250 volts. Provide model with LED to indicate proper functioning of protection and device failure for each line.

##### Wire Connectors.

  - Wire Nuts. Insulated, UL-Listed, with spring insert for applicable wire size and rating of wire insulation.

  - Waterproof Resin Sealer. Insulated, UL-Listed for wire nuts.

  - Terminal Blocks. UL-Listed with twelve-sets minimum to two terminals each, screw-type, rated at a minimum of 600 V, and suitable for the applicable wire size. Connect each set of terminals by means of a removable link. Separate each set of terminals by a molded barrier. Provide a marker strip for terminal identification.

  - Insulated Locking Spade Terminals. An acceptable type.

##### Grounding Bushings and Lugs.

  - Bushings. UL-Listed for applicable conduit type and size.

  - Lugs. UL-Listed for applicable materials.

- Ground Rods With Clamp. Section 1101.11(j).

- Generator Adaptor Kit. Facilitate connection to an external power source, a 110 V AC generator.

  - Disconnect Enclosure. Section 954.2(e)4.a.  Access to the automatic switch relay through the use of a locked police door using a No. 2 key or standard police key.

  - Transfer Switch. Capable of disconnecting the permanent power source and connecting to the emergency power source.  Provide system capable of automatic switch over between AC line and generator power.

  - Connector Cable Assembly. Provide cord with sufficient length to allow the attachment of an external power source in accordance with the latest NEC, that is compatible with the municipal generator, and has neoprene all weather flexible protective boots on each end.

  - Surge Protection. Protect the signal controller assembly with line to neutral clamping voltage of no more than 250 V at 20,000 A.

  - Indicator Light.  Provide red and green LED indicator lights (1.0 inch diameter) mounted to the cabinet on the street side of the cabinet and visible from the center of the intersection. The indicator lights will be field located and connected to the cabinet with watertight connections to prohibit water intrusion into the cabinet.  The red LED indicator light is to be wired to the load side of the transfer switch and is to be illuminated whenever the signals are operating under generator power.  The green LED indicator is to be wired to the AC Line In and is to be illuminated at all other times.

- Uninterrupted Power Supply (UPS). Furnish a Battery Backup System (BBS) and full-time double conversion power conditioner UPS or line-interactive true UPS (stand-by UPS will not be allowed), compatible with the controller assembly and the following:

  - Provide a UL-listed BBS for use with traffic signal equipment.

  - Provide UPS with ethernet port for laptop connection for information downloads.

  - Provide BBS capable of having a transfer time of 8 milliseconds (1/2 the sine wave) or less.

  - Provide BBS with full-time line conditioning.

  - Provide BBS with surge protection compliant with IEEE/ANSI C.62.41 Category A and B.

  - Provide BBS with automatic transfer switch and manual override, compatible with UPS, manufacturer rated at 120VAC/30A.

  - Provide BBS capable of automatic switch over between AC line and UPS Power.  Transfer switch should also be capable of bypassing the UPS for safe removal of the UPS unit for maintenance by way of manually operated UPS supply breaker.

  - All connectors shall be finger safe and all transfer relay contact wiring shall be 10AWG.

  - The BBS system is to be monitored and controlled using readily available terminal emulation software.  Proprietary application software is not allowed.  Web-based software is allowed.

  - Provide BBS with intelligent three-stage charger with control system.  The integral intelligent system shall use temperature compensation.  The charging system shall compensate over a range of 2.5 to 6.0mV/degrees C per cell, user-adjustable when required.  Batteries when charged shall not exceed a battery temperature of 50 C.  Battery shall not be recharged when battery temperature exceeds 50 C (122 F).  Temperature probe shall be included with UPS.

  - Provide batteries that are deep cycle or float cycle, scaled prismatic lead-calcium based AGM/VRLA (Absorbed Glass Mat/Valve Regulated Lead Acid).

  - Provide red and green LED indicator lights (1.0 inch diameter) mounted to the cabinet on the street side of the cabinet and visible from the center of the intersection.  The indicator lights will be field located and connected to the cabinet with watertight connections to prohibit water intrusion into the cabinet.  The red LED indicator light is to be wired to the load side of the transfer switch and is to be illuminated whenever the signals are operating under battery back-up power.  The green LED indicator is to be wired to the AC Line In and is to be illuminated at all other times.

  - Provide a system with minimum 8-hour backup operation at minimum 450-watt load.

  - Provide all warranty information to the Representative at final acceptance.

  - Provide auxiliary cabinet as necessary to accommodate the required number of batteries and Automatic Transfer Switch as specified in 952.2(c)1(1.f) as necessary and as indicated.

- Service Receptacle. Provide one duplex Ground Fault Circuit Interrupter (GFCI) receptacle that is only used by service technicians working on the signal controller system. No other internal equipment is to be connected to the service receptacle. Minimum rating 20A.

  - CONSTRUCTION—Sections 910.3(a) and 950.3, as shown on the Standard Drawings, and as follows:

    - Conduit Trench and Backfill. Excavate and backfill as specified in Section 910.3(c). Cut existing pavement only when indicated. If applicable for Type II trench and backfill, require full slab sidewalk replacement as specified in Section 676.3.

Restore existing pavement. For flexible pavement, use bituminous material of a type equal to the existing pavement, as determined by the Representative. For rigid pavement, use High Early Strength Cement Concrete as specified in Section 704.1.

    - Directional Boring. Install and maintain all erosion and sediment pollution control measures, as indicated on plans, before the start of directional boring. The depth of directional borings should be below the existing roadway subgrade, below the existing pavement base drain, and as shown on the Standard Drawings.    Conduct utility test pits in accordance with applicable PA One Call laws. Do not deform the pavement. Guide the boring. Pneumatic hammers are not allowed. Keep boring pits at least 2 feet from the edge of pavement unless otherwise authorized in writing. Do not use water or drilling fluids to the extent that the pavement might be undermined, or subgrade softened. Maintain drilling fluid in bore hole to increase stability of the surrounding soil. Angle the entry/exit holes so that the curvature of the entry/exit holes does not exceed the allowable bending radius of the traffic signal conduit. Cover the boring pits with adequate planking if the drilling operation must be left overnight. Refill and compact boring as specified in Section 206.3(b).

    - Conduit. Install as specified in Section 910.3(g) and as follows:

If allowed by the Representative, indicated conduit runs may be changed to avoid underground obstructions.

Install conduit as indicated. Maintain at least a 12 inch separation between conduit and other underground utilities. Install high-impact, plastic spacers a maximum of 8 feet on center, if more than two rigid, nonmetallic conduits are to be installed in a common trench.

After installing all related cables, seal all conduits within junction boxes and foundations, including all spare conduits, with electrical putty or an approved sealant as recommended by the cable or conduit manufacturer and in a manner that does not damage the cable.  Insert grade 3 or 4 stainless steel wool at a minimum of 2-inches in the conduit before the sealant to prevent rodent infestation.

When installing conduit to an existing foundation, use appropriate means and methods to ensure conduit is installed while not compromising the integrity of the foundation. Restore any concrete loss to the foundation.  Exposed conduit accessing an existing foundation shall be rigid metal as specified in Section 954.2(b)1.

    - Bonding and Grounding. Bond and ground all electrical equipment as indicated, as shown on the Standard Drawings, as specified in Section 910.3(q), and as follows:

Provide a continuous mechanical and electrical grounding system from the controller assembly through the electrical distribution system.

Bridge grounding bushings on rigid metallic conduit.

Thread bonding bushings on the free ends and lock in place with stainless steel set screws, lug mountings, and binding screws.

##### Signal Cable and Wire.

      - General. Install indicated cable to form a continuous circuit between the proper equipment terminals. Install cables inside supports and brackets.

Insert cable in conduit using lubricant. If new cable is to be installed in conduit with existing conductors, remove the existing cable, clean the conduit, as specified in Section 910.3(g), and then insert both old and new cable into the conduit as a unit. Replace existing cable damaged during this process as directed.  If the new cable is replacing the old cable, permanently remove the old cable.

Use insulated, locking, spade terminals for conductor terminations. Neatly arrange conductors and tie with cable ties within fixtures. Attach cable tags at splices, indicating phase and function, within all junction boxes,

pole bases, and cabinets.

Terminate all spare signal conductors collectively with a pressure-type mechanical lug and cover with electrical tape. Ground spare conductors.

Attach conductor terminations in controller cabinets to barrier-type terminal blocks with no more than one conductor per screw, otherwise use pressure-type mechanical lugs to accommodate the number of conductors being terminated. Identify and mark blocks.

Terminate on grounding bus and identify spare and reserved conductors.

Provide enough slack cable in pole bases, controller cabinets, and junction boxes to allow for proper wiring connections. For pole mounted signals and pedestrian pushbuttons, install signal cable inside pole to the terminal block of the signal or pushbutton.

For span wire installations, lash cable to the span wire, or secure using cable rings and saddles.

Provide drip loops at wire entrances to poles and signal heads. Secure drip loops with outdoor-type, self-locking cable ties.

##### Conductor Color Codes.

        - Pedestrian Pushbutton.

| Cable | 1 Black | —Spare* |
| --- | --- | --- |
|  | 2 White | —Logic Ground |
|  | 3 Red | —Pedestrian Call Detector |

        - Pedestrian Signal.

| 5/C Cable | 1 Black | —Walking Person (Walk) |
| --- | --- | --- |
|  | 2 White | —Neutral |
|  | 3 Red | —Upraised Hand (Don't Walk) |
|  | 4 Green | —Reserved |
|  | 5 Orange | —Spare* |

| 7/C Cable | 1 Black | —Walking Person (Walk 1) |
| --- | --- | --- |
|  | 2 White | —Neutral 1 and 2 |
|  | 3 Red | —Upraised Hand (Don't Walk 1) |
|  | 4 Green | —Reserved |
|  | 5 Orange | —Walking Person (Walk 2) |
|  | 6 Blue | —Upraised Hand (Don't Walk 2) |
|  | 7 White/Tracer | —Spare* |

        - Vehicular Signal.

| 5/C Cable | 1 Black | —Green Ball/Arrow |
| --- | --- | --- |
|  | 2 White | —Neutral |
|  | 3 Red | —Red Ball |
|  | 4 Green | —Reserved |
|  | 5 Orange | —Yellow Ball/Arrow |

| 7/C Cable | 1 Black | —Green Ball |
| --- | --- | --- |
|  | 2 White | —Neutral |
|  | 3 Red | —Red Ball |
|  | 4 Green | —Reserved |
|  | 5 Orange | —Yellow Ball |
|  | 6 Blue | —Green Arrow |
|  | 7 White/Tracer | —Yellow Arrow/Spare* |

* Or as indicated.

    - Electrical Service. Install the conduit and service wire where indicated and consistent with the service type. Perform necessary circuit connections to complete service to the controller assembly as shown on the Standard Drawings.

Install power service outlets in cabinet as specified in Section 954.2(k) and the NEC. Install service pole as specified in Section 910.3(k) and as shown on the Standard Drawings.

Verify with the utility company the location of the service conduit on the service pole or to the service manhole.

Notify the utility company of service requirements. Ensure that service is inspected as required by the utility  Contractor responsible to ensure that electrical service is initially set up in the name of the municipal traffic signal owner. Contractor responsible to reimburse the municipal traffic signal owner for all utility fees incurred during construction.

    - Splicing. Splice wires and cables only at the following locations:

- ground wires within junction boxes;

- signal wires and cables in pole bases; and

- places, where indicated on the plan, if existing traffic signals are being modified.

When splicing signal cables within pole bases, perform splices consistent with National Electric Code (NEC) wet environments.

    - Junction Box. Section 910.3(p)

    - Ground Rods. Install ground rods and ground wire clamps as shown on the Standard Drawings.

    - Testing and Commissioning. Test traffic signal power and control wiring circuits after installation of the electrical distribution system, before connecting to operating equipment, and in the presence of the Service Representative. Complete testing as follows:

- No electrical energy is to be applied to any equipment or components before system testing. The Contractor's service engineer must initiate operation of the equipment.

- All grounding electrodes are adequately installed and individual ground rod(s) at each signal support including the cabinet measure 25 ohms or less to earth and the entire grounding system as shown on the Standard Drawings measure 8 ohms or less to earth.

- The Contractor’s Representative must verify that instruments, have been properly installed, configured, and meet the manufacturer's qualifications for warranty.

- Submit a certificate from the manufacturer, or from the Service Representative, stating that the installed equipment has been inspected, adjusted, approved, and certified to be satisfactory before field testing.

- Correct and recheck any equipment not functioning correctly. Provide corrective measures to remove any ground loops found during start-up.

- Immediately correct any defects and malfunctions with approved methods and materials.

- Include in the testing, but not limited to, taking all variables to their limits (simulated or actual process) to verify all alarms, failure interlocks and/or transfers, and operational interlocks.

    - Submittals. Submit three copies of documentation to the Representative for all components. Include

the following information on the documentation as a minimum:

- Product Data: For each component, include manufacturers descriptive literature; product specifications; published details; technical bulletins; performance and capacity rating curves, charts, and schedules; catalogue data sheets; and other submittal materials as required to verify that the proposed products conform to the quality and functionality as required for the installation.

- Identification: Clearly indicate by an arrow on submissions covering more than one product type or style exactly which product is being submitted for approval.

- Equipment Characteristics: Size, location, weight, and electrical requirements.

- Manufacturer: Include the catalogue name, company name, address, and telephone number for each product submitted.

- Arrangement Drawings: Provide Arrangement Drawing for all signal controller cabinets showing the external front panel, and internal side and rear mounting sub-panels. Provide Bill of Materials, on Arrangement Drawing, identifying equipment shown and all software.

- Reference equipment by a numerical item number. Include the following information:

  - Item

  - Identity

  - Quantity

  - Description

  - Manufacturer

  - Catalog Number

- Provide wiring diagrams for each signal controller cabinet illustrating the power connections to each internal device and all field connections. Display all wiring in a ladder diagram format.

    - Generator Adaptor Kit.

      - Submit shop drawings/catalog cuts of the adaptor kit, as specified in Section 954.2(i), before installation. Provide and attach to the signal controller cabinet after approval.

      - Testing.  In the presence of the municipality and District Traffic Engineer or other Department representative, demonstrate operation of the traffic signal for a minimum of five minutes using a municipal generator and provided cord.  Test the electrical automatic relay switch over.

    - Uninterruptible Power Supply (UPS). As specified in Section 954.2(j), and as follows:

- Provide true-online double conversion or line-interactive true UPS.

- Initiate a 30-day test only after the total system is running and functional.

- Install and test the UPS in accordance with the manufacturer's specifications.

- Mount UPS display in the cabinet and label the indications for easy visibility by service personnel.

- Controller cabinet auxiliary receptacle shall be wired to AC Line.

- Locate and mount batteries on risers such that batteries will not come in contact with water from rain or snow/ice melt events.

  - UPS installed using auxiliary cabinet, where cabinet assembly already exists, shall place the UPS inside existing cabinet assembly, if space allows, with batteries placed in auxiliary cabinet.

  - UPS battery placement with use of an auxiliary cabinet shall be installed as follows:

    - Pole Mounted – Auxiliary cabinet shall be mounted to the pole.  Auxiliary cabinet shall not be mounted to side of existing pole mounted cabinet.

    - Ground Mounted – Auxiliary cabinet may be attached to side of existing signal cabinet; however, bottom of auxiliary cabinet shall rest on the top of the existing cabinet foundation to provide additional support of battery load.

  - MEASUREMENT AND PAYMENT—

    - Conduit. Linear Foot. For the type indicated. The unit price includes stainless steel wool and conduit sealant.

    - Trench and Backfill. Linear Foot. For the type indicated.

    - Directional Boring. Linear Foot. For the type indicated.  The unit price includes utility test pits as necessary in accordance with applicable PA One Call laws.

    - Signal Cable. Linear Foot. The unit price includes cable, identification tags, cable lashing, and any removal of existing cable. Replacement of existing cable damaged during the process as specified in 954.3(e)1 is incidental to this item.

    - Junction Box. Each. For the type indicated.

    - Electrical Service. Each.

For the type indicated. The price includes service pole, ancillary wood poles, service head, meter socket, service disconnect, power line surge protector, exposed conduit, conduit fittings, service wire, generator adaptor kit, ground rod, ground wire, municipal coordination, and utility fees.

##### Uninterruptible Power Supply (UPS). Each.  The price includes all necessary hardware, components, and logic or circuitry to make the system operational and functional with the controller assembly.

    - Cement Concrete Sidewalks. Section 676.4

    - Generator Adaptor Kit Retrofit. Each.  The price includes all necessary material and labor to add generator adaptor kit to existing controller assembly.  Provision of a generator adaptor kit on new controller assembly installations is incidental to controller assembly item as specified in Section 952.4.