## Phase
| PHASE TIMING | [8 empty] | Range | Default | TERMINOLOGY | NTCIP | ECONOLITE ASC/2 | ECONOLITE ASC/3 | ECONOLITE EOS | INTELIGHT | MCCAIN | PEEK | SIEMENS | TRAFFICWARE
| PHASES | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |  |  | 4.2.1.1.2.1.1 | phaseNumber
added | MIN GREEN | 5 | 10 |  | 5 | 5 | 10 |  | 5 |  |  | 4.2.1.1.2.1.4 | phaseMinimumGreen | MIN GRN | MIN GRN | GREEN | MinGrn | MIN GRN | MINIMUM GREEN | MIN GRN | Min Grn
| ADVANCE WALK | [10 empty] | 4.2.1.1.2.1.30 | phasePedAdvanceWalkTime |  | DLY GRN | ADVANCED | DlyGrn | DLY WALK |  | WOFF/10
| WALK | - | 7 |  | - | - | 7 |  | 7 |  |  | 4.2.1.1.2.1.2 | phaseWalk | WALK | WALK | WALK | Walk | WALK | PED WALK | WALK1 | Walk
| DON'T WALK | - | 15 |  | - | - | 15 |  | 20 |  |  | 4.2.1.1.2.1.3 | phasePedestrianClear | PED CLR | PED CLR | CLEAR | PedClr | PED CLR | PED CLEARANCE | PEDCLR1 | Ped Clr
| VEH EXT | [10 empty] | 4.2.1.1.2.1.5 | phasePassage | VEH EXT | VEH EXT | EXTEND1 | Passage | PASS/10 | PASSAGE | PASS/10 | Gap Ext | bar: 1 to 2; 4 to 6; 8
| MAX 1 | 35 | 60 |  | 35 | 35 | 60 |  | 35 |  |  | 4.2.1.1.2.1.6 | phaseMaximum1 | MAX1 | MAX1 | MAX1 | Max 1 | MAX1 | MAXIMUM 1 | MAX # 1 | Max 1
| MAX 2 | 35 | 60 |  | 35 | 35 | 60 |  | 35 |  |  | 4.2.1.1.2.1.7 | phaseMaximum2 | MAX2 | MAX2 | MAX2 | Max 2 | MAX2 | MAXIMUM 2 | MAX # 2 | Max 2
| MAX 3 | [10 empty] | 4.2.1.1.2.1.24 | phaseMaximum3 |  | MAX3 | MAX3 | Max 3
| YELLOW | 4.5 | 4.5 |  | 4.5 | 4.5 | 4.5 |  | 4.5 |  |  | 4.2.1.1.2.1.8 | phaseYellowChange | YELLOW | YELLOW | YELLOW | YelChg | YEL/10 | YELLOW CLEARANCE | YEL/10 | Yel Clr
| RED | 2 | 2 |  | 3 | 2 | 2 |  | 3 |  |  | 4.2.1.1.2.1.9 | phaseRedClear | RED CLR | RED CLR | RED | RedClr | RED/10 | RED CLEARANCE | RED/10 | Red Clr
| SEC/ACT | [10 empty] | 4.2.1.1.2.1.11 | phaseAddedInitial | SEC/ACT | SEC/ACT | SEC/ACT | AddInit | ADDIN/10 | SEC/ACTUATION | AINI/10 | Add Init
| MAX INITIAL | [10 empty] | 4.2.1.1.2.1.12 | phaseMaximumInitial | MAX INI | MAX INT | MAX | MaxInit | MAX INIT | MAX INITIAL | MAX INI | Max Init
| TBR | [10 empty] | 4.2.1.1.2.1.13 | phaseTimeBeforeReduction | TIME B4 | TIME B4 | BEFORE | TBRedu | TBR | TIME B4 GAP REDUCTION | TB RED | Time B4
| TTR | [10 empty] | 4.2.1.1.2.1.15 | phaseTimeToReduce | TTREDUC | TTREDUC | REDUCE | TTRedu | TTR | TIME TO REDUCE | TT RED | Time To
| MIN GAP | [10 empty] | 4.2.1.1.2.1.17 | phaseMinimumGap | MIN GAP | MIN GAP | MIN GAP | MinGap | MIN GP/10 | MINIMUM GAP | MGAP/10 | Min Gap
| DYN MAX LIMIT | [10 empty] | 4.2.1.1.2.1.18 | phaseDynamicMaxLimit | MAX3 | DYM MAX | DYM MAX | DynMax | DM LIMIT | DYNAMIC MAX LIMIT | DMAX | DyMaxLim
| DYN MAX STEP | [10 empty] | 4.2.1.1.2.1.19 | phaseDynamicMaxStep | MAX EXT | DYM STP | DYM STP | MaxStep | DM STP/10 | DYNAMIC MAX STEP | DSTP/10 | Max Step
| MIN RECALL | [10 empty] | 4.2.1.1.2.1.21 | phaseOptions Bit 6 | VEHICLE RECALL | VE RCALL | VEH RECALL | MinVehRecall | MIN VEH RECALL | VEHICLE MINIMUM | VEH RCL (code 2) | Min Recall
| MAX RECALL | [10 empty] | 4.2.1.1.2.1.21 | phaseOptions Bit 7 | RECALL TO MAX | MX RCALL | MAX RECALL | MaxVehRecall | MAX VEH RECALL | VEHICLE MAXIMUM | VEH RCL (code 3) | Max Recall
| SOFT RECALL | [10 empty] | 4.2.1.1.2.1.21 | phaseOptions Bit 9 | SOFT RECALL | SF RCALL | SOFT RECALL | SoftVehRecall | SOFT VEH RECALL | SOFT RECALL | VEH RCL (code 4) | Soft Recall | bar: 2; 6
| PED RECALL | [10 empty] | 4.2.1.1.2.1.21 | phaseOptions Bit 8 | PED RECALL | PD RCALL | PED RECALL | PedRecall | PED RECALL | PEDESTRIAN RECALL | PED RCL | Ped Recall
| REST IN WALK | [10 empty] | 4.2.1.1.2.1.21 | phaseOptions Bit 13 | REST IN WALK | REST IN WALK | REST IN WALK | ActRestInWalk | WALK REST |  | ACT RIW | Rest in Walk | bar: 2; 6
| DUAL ENTRY | [10 empty] | 4.2.1.1.2.1.21 | phaseOptions Bit 10 | DUAL ENTRY | DUAL ENTRY | DUAL ENTRY | DualEntry | DUAL ENTRY | DUAL ENTRY | 2 ENTRY | Dual Entry | bar: 4; 8
| MEMORY | [10 empty] | 4.2.1.1.2.1.21 | phaseOptions Bit 5 | LOCKING MEMORY | LOCK DET | LOCK DETECTOR | NonLockDetMem | DETECTOR LOCK | DETECTOR NON LOCK | NL MEM | Lock Calls | bar: 1 to 2; 4 to 6; 8
L - LOCKING
NL - NON-LOCKING

## Overlaps
| Applicability | Minus Green Yellow Alternate | Pedestrian Normal | FYA Four Section | Normal Overlap | OVERLAPS |  |  |  |  | TERMINOLOGY | NTCIP | ECONOLITE ASC/2 | ECONOLITE ASC/3 | ECONOLITE EOS | INTELIGHT | MCCAIN | PEEK | SIEMENS | TRAFFICWARE
[6 empty] | OVERLAP | A | B | C | D | 4.2.1.9.2.1.1 | overlapNumber
added | [5 empty] | SIGNALS | 4 | 1
changed | [5 empty] | TYPE |  |  |  |  | 4.2.1.9.2.1.2 | overlapType |  |  | TYPE | Type | TYPE | TYPE |  | TYPE
|  |  |  | X | X | INCLUDED PHASES | ø1, ø2FYA | ø5, ø6FYA |  |  | 4.2.1.9.2.1.3 | overlapIncludedPhases | STANDARD | INCLUDED | INCLUDED PHASE | Include Phs | INCLUDED PHASES | PARENTS | PARENTS | Included Ps
|  |  |  | X |  | MODIFIER PHASES |  |  |  |  | 4.2.1.9.2.1.4 | overlapModifierPhases |  | MODIFIER | INHIBIT WITH PHASE | Mod Phs | MODIFIER PHASES | MODIFIER | -G/Y PHASES | Modifier Ps
[6 empty] | LAG GREEN | 0 | 0 |  |  | 4.2.1.9.2.1.5 | overlapTrailGreen | LAG/LEAD GREEN TIMER | LAG GRN |  | Tr_Gr | TRAILING GRN | TRAIL GREEN | TRAIL GREEN STANDARD | Grn
[6 empty] | YELLOW | 4.5 | 4.5 |  |  | 4.2.1.9.2.1.6 | overlapTrailYellow | LAG/LEAD YELLOW TIMER | YEL |  | Tr_Yel | TRAILING YEL | TRAIL YELLOW | YEL/10 | Yel
[6 empty] | RED | 2 | 2 |  |  | 4.2.1.9.2.1.7 | overlapTrailRed | LAG/LEAD RED TIMER | RED |  | Tr_Red | TRAILING RED | TRAIL RED | RED/10 | Red
| Econolite |  |  |  |  | PROT LEFT TYPE
| Econolite |  |  |  |  | PROT LEFT #
| Econolite |  |  |  |  | OPP THRU TYPE
| Econolite |  |  |  |  | OPP THRU #
| Econolite |  |  |  |  | FYA OUTPUT CH
Note on J4: Gault, Steve: NTCIP types: -Other -Normal -Minus Green Yellow -Pedestrian Normal -FYA Three Section -FYA Four Section -FRA Three Section -FRA Four Section -Transit-2 -Minus Green Yellow Alternate

## Preemption
|  | PREEMPTION | [6 empty] | TERMINOLOGY | NTCIP | ECONOLITE ASC/2 | ECONOLITE ASC/3 | ECONOLITE EOS | INTELIGHT | MCCAIN | PEEK | SIEMENS | TRAFFICWARE
|  | PRE EMPT # | 1 | 2 | 3 | 4 | 5 | 6 | 4.2.1.6.2.1.1 | preemptNumber
|  | DESCRIPTION | RR | QUEUE | EVP EB | EVP WB | EVP NB | EVP SB
|  | SIGNALS |  |  | A | B | C | D,E
SIGNS | bar: 1 to 6
added | Call Stage | DELAY | [6 empty] | 4.2.1.6.2.1.4 | preemptDelay |  | DELAY | CALL DELAY | Delay | DELAY | DELAY | DELAY | Delay
changed | Entry Stage | MIN DURATION | [6 empty] | 4.2.1.6.2.1.5 | preemptMinimumDuration |  | DURATION | MIN DURATION | Min Dur | MINIMUM DURATION | MIN DURATION | DURAT | MinDura
|  | MIN GREEN | [6 empty] | 4.2.1.6.2.1.6 | preemptMinimumGreen |  |  | ENTRANCE MIN GREEN | Min Grn | ENTER MIN GREEN | ENTRY MIN GRN | MIN GRN
|  | ENTER YELLOW | [6 empty] | 4.2.1.6.2.1.22 | preemptEnterYellowChange |  | ENTRANCE TM. YEL | ENTRANCE YELLOW | Ent Yel Chg | ENTER MIN YELLOW | ENTRY YELLOW | SELECT YEL/10 | EnterYelChg
|  | ENTER RED | [6 empty] | 4.2.1.6.2.1.23 | preemptEnterRedClear |  | ENTRANCE TM. RED | ENTRANCE RED | Ent Red Clr | ENTER MIN RED CLEAR | ENTRY RED CLR | SELECT RED/10 | EnterRedClr
| Track Clear Stage | TRACK PHASE | 1: ø3,ø8 | 4.2.1.6.2.1.12 | preemptTrackPhase | TRK CLR PHASE | TRKCLR V | TRKCLR V | Trk Phs | TRACK PHASES | TRACK PH | TRK GRN | Track Veh
|  | TRACK OVERLAP | [6 empty] | 4.2.1.6.2.1.17 | preemptTrackOverlap |  | TRKCLR O | TRKCLR O | Trk Ovls | TRACK OVERLAPS | TRACK OL |  | Overlaps+ Track
|  | TRACK CLEAR | 1: 54 | 4.2.1.6.2.1.9 | preemptTrackGreen |  | TRACK CLEAR MIN GR | TRACK CLEARANCE MIN GREEN | Trk Grn | TRACK GREEN | TRACK GREEN TIME | TRACK GREEN | Track Grn
|  | TRACK YELLOW | [6 empty] | 4.2.1.6.2.1.24 | preemptTrackYellowChange |  | TRACK CLEAR YEL | TRACK CLEARANCE YELLOW | Trk Yel Chg | TRACK MIN YELLOW | TRACK YELLOW TIME | TRACK YEL/10 | TrackYelChg
|  | TRACK RED | [6 empty] | 4.2.1.6.2.1.25 | preemptTrackRedClear |  | TRACK CLEAR RED | TRACK CLEARANCE RED | Trk Red Clr | TRACK MIN RED CLEAR | TRACK RED CLEAR TIME | TRACK RED/10 | TrackRedClr
| Dwell (Limited Service) Stage | MIN DWELL |  | 30 | 10 | 10 | 10 | 10 | 4.2.1.6.2.1.10 | preemptDwellGreen |  | DWL MIN DL | DWELL MINIMUM DWELL | Dwell Grn | MINIMUM DWELL |  | DWL GRN | Min Dwell
|  | MAX PRESENCE | 54 |  | 60 | 60 | 60 | 60 | 4.2.1.6.2.1.11 | preemptMaximumPrescence |  | DWL MX TM | MAX CALL | Max Pres | MAXIMUM PRESENCE | MAX PRESENCE | MXCAL | MaxPres
|  | DWELL PHASE | ø2,ø6 |  | ø1,ø6 | ø5,ø2 | ø4 | ø8 | 4.2.1.6.2.1.13 | preemptDwellPhase | HOLD PHASES | DWEL VEH | DWEL VEH | Dwell Phases | DWELL PHASES | DWELL PH | DWELL | DwellCyc Veh
|  | DWELL OVERLAP | [6 empty] | 4.2.1.6.2.1.18 | preemptDwellOverlap |  | DWEL OLP | DWEL OLP | Dwell Ovls | DWELL OVERLAPS | DWELL OL |  | Overlaps+ DwellCyc
|  | DWELL PED | [6 empty] | 4.2.1.6.2.1.14 | preemptDwellPed |  | DWEL PED | DWEL PED | Dwell Peds | DWELL PEDS | DWELL PD |  | DwellCyc Ped
|  | CYCLING PHASE | 1: ø1,ø2,ø4,ø5,ø6 | 4.2.1.6.2.1.19 | preemptCyclingPhase |  | CYC VEH | CYC VEH | Cyc Phs | CYCLING PHASES | CYCLE PH
|  | CYCLING OVERLAP | [6 empty] | 4.2.1.6.2.1.21 | preemptCyclingOverlap |  | CYC OLP | CYC OLP | Cyc Ovls | CYCLING OVERLAPS | CYCLE OL
|  | CYCLING PED | [6 empty] | 4.2.1.6.2.1.20 | preemptCyclingPed |  | CYC PED | CYC PED | Cyc Peds | CYCLING PEDS | CYCLE PD
| Exit Stage | EXIT TYPE | [6 empty] | 4.2.1.6.2.1.27 | preemptExitType |  |  |  | Exit Type
|  | EXIT PHASE | ø2,ø6 | ø4 | ø2,ø6 | ø2,ø6 | ø2,ø6 | ø2,ø6 | 4.2.1.6.2.1.15 | preemptExitPhase | EXIT PHASES | EXIT PH | EXIT PH | Exit Phases | EXIT PHASES | EXIT PH | EXIT | Exit
THE TABLE BELOW CAN BE USED WHEN ONLY EMERGENCY VEHICLE PREEMPTION IS USED AT AN INTERSECTION
DEFAULT VALUES FROM TC-8807 ARE OMITTED.
|  | PREEMPTION | [6 empty] | TERMINOLOGY | NTCIP | ECONOLITE ASC/2 | ECONOLITE ASC/3 | ECONOLITE EOS | INTELIGHT | MCCAIN | PEEK | SIEMENS | TRAFFICWARE
added |  | PRE EMPT # | 3 | 4 | 5 | 6 |  |  | 4.2.1.6.2.1.1 | preemptNumber
changed |  | DESCRIPTION | EVP EB | EVP WB | EVP NB | EVP SB
|  | DWELL PHASE | ø1,ø6 | ø5,ø2 | ø7, ø4 | ø3, ø8 |  |  | 4.2.1.6.2.1.13 | preemptDwellPhase | HOLD PHASES | DWEL VEH | DWEL VEH | Dwell Phases | DWELL PHASES | DWELL PH | DWELL | DwellCyc Veh
|  | DWELL OVERLAP | [6 empty] | 4.2.1.6.2.1.18 | preemptDwellOverlap |  | DWEL OLP | DWEL OLP | Dwell Ovls | DWELL OVERLAPS | DWELL OL |  | Overlaps+ DwellCyc | bar: 1 to 4
Note on E24: Steve Gault: NTCIP options: - Exit Phases - Queue Delay Recovery - Short Service -Exit Coord

## Coord
COORDINATION
PATTERN | CYCLE LENGTH | OFFSET | PHASE SPLITS
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
1 | 135 | 0 | 21 | 53 | 21 | 40 | 21 | 53 | 26 | 35
2 | 135 | 25 | 21 | 53 | 21 | 40 | 21 | 53 | 26 | 35
3 | 135 | 0 | 21 | 53 | 21 | 40 | 21 | 53 | 26 | 35
4
5
6
DAY PLAN |  | 1 | PHASE SPLITS 1: DAY PLAN; PHASE SPLITS 2: DAY OF WEEK
EVENT | EVENT PLAN | START TIME |  | Su | M | Tu | W | Th | F | Sa
|  |  | 1 |  | X | X | X | X | X
1 | 1 | 6:00 | PHASE SPLITS 1: 2; PHASE SPLITS 2: X; PHASE SPLITS 8: X
2 | 100 | 9:00
3 | 2 | 12:30
4 | 3 | 16:30
5 |  |  | PHASE SPLITS 1: COORDINATED PHASES; PHASE SPLITS 5: 2; PHASE SPLITS 6: 6
6 |  |  | PHASE SPLITS 1: SPLITS IN; PHASE SPLITS 5: SECONDS
7 |  |  | PHASE SPLITS 1: TRANSITION; PHASE SPLITS 5: SMOOTH
8 |  |  | PHASE SPLITS 1: SYSTEM SOURCE; PHASE SPLITS 5: SYS
9 |  |  | PHASE SPLITS 1: OFFSET REFERENCE; PHASE SPLITS 5: BEGINNING OF YELLOW
10 |  |  | PHASE SPLITS 1: FORCE OFF; PHASE SPLITS 5: FLOATING
DAY PLAN |  | 2
EVENT | EVENT PLAN | START TIME
1 | 1 | 6:00
2 | 100 | 9:00
3 | 2 | 12:30
4 | 3 | 16:30
5
6
7
8
9
10